## SCHEDULE NOTES
Performance data is derived from test data in conformance with ASTM-E477-20.
Price Silencers are tested in our NVLAP-Accredited Sound Lab; NVLAP Lab Code: 200874-0
Price silencers consist of ASTM A653 / A653M steel casings and perforated liners.
Price silencer material has flame spread classification < 25 and smoke development rating < 50 when tested in accordance with ASTM E84, UL723 and NFPA255.
Material Options: Galvanized Steel, Galvanneal, 304 Stainless Steel, Aluminum
Finish Options: Mill Finish, Black Powder Coat

## SCHEDULE
SCHEDULE RANGE | [18 empty] | FILTERS |  |  |  | DOCUMENTATION
RETURN AIR CANOPY SCHEDULE | [18 empty] | DIMENSIONS | INSULATION | VELOCITY (FPM) | CFM | SUBMITTAL (OUTDOOR UNIT) | SUBMITTAL (INDOOR UNIT) | SUBMITTAL (SYSTEM) | ENGINEERING MANUAL (SYSTEM) | ENGINEERING MANUAL (OUTDOOR UNIT) | ENGINEERING MANUAL (INDOOR UNIT) | CAPACITY TABLE | INSTALLATION MANUAL (OUTDOOR) | INSTALLATION MANUAL (INDOOR) | INSTALLATION MANUAL (SYSTEM) | REVIT (OUTDOOR) | REVIT (INDOOR) | REVIT (SYSTEM) | CAD (OUTDOOR) | CAD (INDOOR) | CAD (SYSTEM) | CONTROLS OPTIONS | OPERATION MANUAL
Model (Price) | Description | Airflow |  |  | Noise Reduction (dB) | [7 empty] | Weight & Dimensions |  |  |  | Insulation | Notes/Accessories
|  | Flow (CFM) | Velocity (FPM) | PD (in. w.g.) | 63 Hz | 125 Hz | 250 Hz | 500 Hz | 1000 Hz | 2000 Hz | 4000 Hz | 8000 Hz | Width (in) | Height (in) | Length (in) | Weight (lbs)
RAC | Return Air Canopy | 245 | 250 | 0.05 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 12 | 7 | 11.75 | 3 | 1" Fiberglass | All | 12 x 12 | 1" Fiberglass | 250 | 245 |  |  | 12 x 12 - Fiberglass - 250 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 245 | 250 | 0.05 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 12 | 7 | 11.75 | 3 | 1" Fiber-Free Foam | All | 12 x 12 | 1" Fiber-Free Foam | 250 | 245 |  |  | 12 x 12 - Fiber Free - 250 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 495 | 250 | 0.05 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 12 | 7 | 23.75 | 3 | 1" Fiberglass | All | 12 x 24 | 1" Fiberglass | 250 | 495 |  |  | 12 x 24 - Fiberglass - 250 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 495 | 250 | 0.05 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 12 | 7 | 23.75 | 3 | 1" Fiber-Free Foam | All | 12 x 24 | 1" Fiber-Free Foam | 250 | 495 |  |  | 12 x 24 - Fiber Free - 250 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 990 | 250 | 0.05 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 24 | 7 | 23.75 | 5 | 1" Fiberglass | All | 24 x 24 | 1" Fiberglass | 250 | 990 |  |  | 24 x 24 - Fiberglass - 250 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 990 | 250 | 0.05 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 24 | 7 | 23.75 | 5 | 1" Fiber-Free Foam | All | 24 x 24 | 1" Fiber-Free Foam | 250 | 990 |  |  | 24 x 24 - Fiber Free - 250 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 1990 | 250 | 0.05 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 24 | 7 | 47.75 | 10 | 1" Fiberglass | All | 24 x 48 | 1" Fiberglass | 250 | 1990 |  |  | 24 x 48 - Fiberglass - 250 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 1990 | 250 | 0.05 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 24 | 7 | 47.75 | 10 | 1" Fiber-Free Foam | All | 24 x 48 | 1" Fiber-Free Foam | 250 | 1990 |  |  | 24 x 48 - Fiber Free - 250 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 147 | 150 | 0.02 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 12 | 7 | 11.75 | 3 | 1" Fiberglass | All | 12 x 12 | 1" Fiberglass | 150 | 147 |  |  | 12 x 12 - Fiberglass - 150 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 147 | 150 | 0.02 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 12 | 7 | 11.75 | 3 | 1" Fiber-Free Foam | All | 12 x 12 | 1" Fiber-Free Foam | 150 | 147 |  |  | 12 x 12 - Fiber Free - 150 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 297 | 150 | 0.02 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 12 | 7 | 23.75 | 3 | 1" Fiberglass | All | 12 x 24 | 1" Fiberglass | 150 | 297 |  |  | 12 x 24 - Fiberglass - 150 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 297 | 150 | 0.02 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 12 | 7 | 23.75 | 3 | 1" Fiber-Free Foam | All | 12 x 24 | 1" Fiber-Free Foam | 150 | 297 |  |  | 12 x 24 - Fiber Free - 150 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 594 | 150 | 0.02 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 24 | 7 | 23.75 | 5 | 1" Fiberglass | All | 24 x 24 | 1" Fiberglass | 150 | 594 |  |  | 24 x 24 - Fiberglass - 150 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 594 | 150 | 0.02 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 24 | 7 | 23.75 | 5 | 1" Fiber-Free Foam | All | 24 x 24 | 1" Fiber-Free Foam | 150 | 594 |  |  | 24 x 24 - Fiber Free - 150 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 1194 | 150 | 0.02 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 24 | 7 | 47.75 | 10 | 1" Fiberglass | All | 24 x 48 | 1" Fiberglass | 150 | 1194 |  |  | 24 x 48 - Fiberglass - 150 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 1194 | 150 | 0.02 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 24 | 7 | 47.75 | 10 | 1" Fiber-Free Foam | All | 24 x 48 | 1" Fiber-Free Foam | 150 | 1194 |  |  | 24 x 48 - Fiber Free - 150 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 343 | 350 | 0.11 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 12 | 7 | 11.75 | 3 | 1" Fiberglass | All | 12 x 12 | 1" Fiberglass | 350 | 343 |  |  | 12 x 12 - Fiberglass - 350 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 343 | 350 | 0.11 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 12 | 7 | 11.75 | 3 | 1" Fiber-Free Foam | All | 12 x 12 | 1" Fiber-Free Foam | 350 | 343 |  |  | 12 x 12 - Fiber Free - 350 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 693 | 350 | 0.11 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 12 | 7 | 23.75 | 3 | 1" Fiberglass | All | 12 x 24 | 1" Fiberglass | 350 | 693 |  |  | 12 x 24 - Fiberglass - 350 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 693 | 350 | 0.11 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 12 | 7 | 23.75 | 3 | 1" Fiber-Free Foam | All | 12 x 24 | 1" Fiber-Free Foam | 350 | 693 |  |  | 12 x 24 - Fiber Free - 350 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 1385 | 350 | 0.11 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 24 | 7 | 23.75 | 5 | 1" Fiberglass | All | 24 x 24 | 1" Fiberglass | 350 | 1385 |  |  | 24 x 24 - Fiberglass - 350 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 1385 | 350 | 0.11 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 24 | 7 | 23.75 | 5 | 1" Fiber-Free Foam | All | 24 x 24 | 1" Fiber-Free Foam | 350 | 1385 |  |  | 24 x 24 - Fiber Free - 350 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 2785 | 350 | 0.11 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 24 | 7 | 47.75 | 10 | 1" Fiberglass | All | 24 x 48 | 1" Fiberglass | 350 | 2785 |  |  | 24 x 48 - Fiberglass - 350 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 2785 | 350 | 0.11 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 24 | 7 | 47.75 | 10 | 1" Fiber-Free Foam | All | 24 x 48 | 1" Fiber-Free Foam | 350 | 2785 |  |  | 24 x 48 - Fiber Free - 350 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 490 | 500 | 0.22 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 12 | 7 | 11.75 | 3 | 1" Fiberglass | All | 12 x 12 | 1" Fiberglass | 500 | 490 |  |  | 12 x 12 - Fiberglass - 500 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 490 | 500 | 0.22 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 12 | 7 | 11.75 | 3 | 1" Fiber-Free Foam | All | 12 x 12 | 1" Fiber-Free Foam | 500 | 490 |  |  | 12 x 12 - Fiber Free - 500 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 990 | 500 | 0.22 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 12 | 7 | 23.75 | 3 | 1" Fiberglass | All | 12 x 24 | 1" Fiberglass | 500 | 990 |  |  | 12 x 24 - Fiberglass - 500 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 990 | 500 | 0.22 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 12 | 7 | 23.75 | 3 | 1" Fiber-Free Foam | All | 12 x 24 | 1" Fiber-Free Foam | 500 | 990 |  |  | 12 x 24 - Fiber Free - 500 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 1979 | 500 | 0.22 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 24 | 7 | 23.75 | 5 | 1" Fiberglass | All | 24 x 24 | 1" Fiberglass | 500 | 1979 |  |  | 24 x 24 - Fiberglass - 500 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 1979 | 500 | 0.22 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 24 | 7 | 23.75 | 5 | 1" Fiber-Free Foam | All | 24 x 24 | 1" Fiber-Free Foam | 500 | 1979 |  |  | 24 x 24 - Fiber Free - 500 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 3979 | 500 | 0.22 | 8 | 10 | 11 | 12 | 20 | 20 | 22 | 25 | 24 | 7 | 47.75 | 10 | 1" Fiberglass | All | 24 x 48 | 1" Fiberglass | 500 | 3979 |  |  | 24 x 48 - Fiberglass - 500 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit
RAC | Return Air Canopy | 3979 | 500 | 0.22 | 7 | 9 | 10 | 9 | 13 | 15 | 16 | 17 | 24 | 7 | 47.75 | 10 | 1" Fiber-Free Foam | All | 24 x 48 | 1" Fiber-Free Foam | 500 | 3979 |  |  | 24 x 48 - Fiber Free - 500 FPM | Price RAC - Specs | [5 empty] | Price RAC - IM |  |  | Price RAC - Revit